CJTS Drug and Alcohol Testing

Vendor Questions

Provide information on the following questions and include the response in Section 3 of your proposal.

- Identify the collection location(s), hours of operation, accessibility, parking, and capacity to accommodate CJTS program participants.

Describe your ability to provide expanded availability (service hours).

- Describe procedures for participant identification, collector training, observed collections, inability to provide a specimen, specimen validity issues, refusals, specimen handling, chain of custody, and confidentiality.

- Describe your ability to test for emerging or newly prevalent substances upon request and its ability to add or modify panels during the contract term.

- Identify the testing methodology and applicable cutoff levels.

- Describe procedures for transporting specimens to a reference laboratory and the anticipated time from collection to receipt and reporting.

- For the lab testing, describe:

- Screening and confirmation methodologies and applicable cutoff levels for all testing services offered under this RFP.

- Laboratory instrumentation and quality-control procedures.

- Proficiency testing and specimen validity testing, as applicable.

- Specimen retention and storage procedures.

- Procedures for unexpected, disputed, repeat, or additional testing.

- Circumstances under which confirmation is automatic or requires authorization.

- Detection windows, limitations, and available testing methods, including drug and alcohol testing.

- Procedures for reporting and communicating test results to authorized CJTS personnel.

- Identify standard turnaround times for instant, screening, confirmation, specimen validity, and expedited testing.